## Slide 1: Home Automation

## Slide 2: Hardware & Electrical Architecture

## Slide 3
A/V Rack
Projector Stand
Screen
Door
FS1
FS2
WMS1
CP1
CP2
WMS2
SW1
CS1
Speaker
Stand/Rack
AC
Power
CL1
WL1
WL2
Light
CL4
CL5
Power Points
1 . Projector
2. AVR
3. Fire Stick
4. Wall LED 1 & 2
5. Ceiling Light 1 & 2
6. Ceiling Light 3, 4 & 5
7. Fan
8. Plug
9. Plug
10. Plug
11. Plug
1
2
3
4
5
6
CL1
CL3
7

## Slide 5: Electrical Design
Home Automation Server (Raspberry Pi)
Edge Gateway (NodeMCU)
LED1
LED2
LED1
LED2
LED5
LED6
LS1
LS2
Projector
Fan1
Fan2
P1
P2
P3
P4
P5
P6
P7
P8
4 Ch Relay 1
LED
4 Ch Relay 2
A/V
VCC GND
5 4 14 12
NodeMCU1 (Power)
Serial 3V
NodeMCU1 (Sensor)
DTH
Motion
Sound
240V
VCC GND
5 4 14 12
NodeMCU2 (Power)
Lamp
Plugs:
1 - Projector
4 – Relay Power (4)
4 – AVR, FTS, Fan
2 – Fan (1)

## Slide 6: Hand switch to Relay wiring
Relay switch
Light/Fan/AC
220V Phase
Manual Switch
Neutral
Off
On
COM
Board | Type | Relay Connection | Connected Device
1 | Plug | Yes | Projector
2 | Switch | Yes | Back LED
2 | Switch | Yes | Front LED
2 | Switch | Yes | Small LED
2 | Switch | Yes | Side LED
2 | Switch | Yes | Bulb
2 | Plug | No | 12v Adapter
2 | Plug | No | 5V Adapter
2 | Plug | No | Open
2 | Plug | No | Open
3 | Plug | No | AVR
3 | Plug | No | FTS
3 | Plug | No | PSW
3 | Plug | Yes | Fan
4 | Plug | Yes | Fan
4 | Plug | No | Open

## Slide 7: Room Design
FS1
FS2
W 10.5 feet = 3200 mm
L 14.6 feet = 4470 mm
H 9 feet = 2743 mm
W 9.2 feet
H 5.2 Feet
Screen
Recliner
AVR
CS
SW
SS1
SS2
CS1
CS12
Door
Window
Sofa
Electrical Unit
Projector
Table
Cabinet
W 7.5 feet
W 3 feet
W 6 feet
W 3 feet
L 4 feet
L 4 feet
L 6.6 feet
W 3 feet
W 3 feet

## Slide 8: Application Architecture

## Slide 9: Automation Architecture
Home Automation Server (Raspberry Pi)
Edge NodeMCU (PowerControl)
MQTT Broker (Mosquitto)
SwitchControlServer
REACT.JS
Python
PostGreSQL
PowerControl Microservice
HTTP
MQTT
ControlJSON
{“Switch1”:1, “Switch2”:0, “Switch3”:1, “Switch4”:1,
“Switch5”:0, “Switch6”:0,
“Switch7”:1}
Switch
Control
Power Report
REACT.JS
Python
PostGreSQL
Ambience Microservice
Switch
Trigger
Ambience Report
Edge NodeMCU (Ambience)
AmbienceReportingServer
{Topic: Ambience, AmbienceData:
{“Temp”:23, “Humidity”:76, “Sound”:78}
{“Motion”:true, “Smoke”:76, “CO2”:78}}
Publish/Subscribe MQTT
Python-MQTT bridge
InfluxDB

## Slide 10: Data Model for home Automation – Switch Control
Column Name | Description | Data Type
NodeID | ID of Control Board | String
SwitchID | ID of Switch | String
DeviceID | ID of Connected Device | String
Description | Description of Device/Sensor | String
Power | Power Consumption by Device in Wattage | Decimal
Table Name: SwitchControl (PGSQL)
Column Name | Description | Data Type
Measure | ID of Switch | String
State | On or Off | Boolean
DateTime | Timestamp of the state change | Timestamp
Table Name: SwitchState (InfluxDB)

## Slide 11: Data Model for home Automation – Ambience control
Column Name | Description | Data Type
NodeID | ID of Control Board | String
SensorID | ID of Sensor | String
Description | Description of Device/Sensor | String
LowerLimit | Lower Threshold Limit of the Sensor value | Decimal
UpperLimit | Lower Threshold Limit of the Sensor value | Decimal
UOM | Unit of measure of sensor value | String
Table Name: AmbienceControl (PGSQL)
Column Name | Description | Data Type
Measure | ID of Sensor | String
SensorValue | Measured value by sensor | Decimal
DateTime | Timestamp of the measure | Timestamp
Table Name: AmbienceMeasure (InfluxDB)
Column Name | Description | Data Type
NodeID | ID of Control Board | String
SensorID | ID of Sensor | String
MeasureInterval | Time interval of measure in seconds | Decimal
MeasurePauseStartTime | Time of start of pause measure daily | Time
MeasurePauseEndTime | Time of end of pause measure daily | Time
Table Name: AmbienceMeasureSchedule (PGSQL)
Column Name | Description | Data Type
NodeID | ID of Control Board | String
SensorID | ID of Sensor | String
SensorValue | Threshold value by sensor | Decimal
Operator | Operator sign of the threshold value comparison | String
DelayTime | Time to measure and condition fulfilment in seconds | Decimal
ServiceToCall | Service to call on condition fulfilment | String
Table Name: AmbienceEvent (PGSQL)